## Sheet1
Number | Product | Model | Brand | Quantity | Capacity / Power | Technical Specs
1 | Pressure Tank / Expansion Vessel | VR18-MAG-H 18 | WATTS | 47 | 18 Liters | Pressure: 1.5 bar
2 | Expansion Vessel | AQ50-IPAC | ECONSIDE | 36 | 50 Liters | Max Pressure: 6 bar; Test Pressure: 9 bar; Temp Range: -10°C to +100°C; Fluid: Water (Non-potable); Usage: Heating & AC; Compliance: CE
2.1 | Expansion Vessel | AQ100-IPAC | ECONSIDE | 6 | 94 Liters | Max Pressure 6 bar. Test pressure 9 bar. Temperature Range -10 Celsius to +100 Celsius
3 | Heat Pump (Water Heater) | Nuos Primo 240 HCA+ | ARISTON | 3 | 240 Liters
4 | Heat Pump (Water Heater) | Nuos Primo 200 HC A+ | ARISTON | 4 | 200 liters
5 | Air-to-Water Heat Pump | HN1616YNB2 | LG | 1 | ~16 kW | Cooling Capacity: ~16 kW; Inverter Compressor
6 | Air-to-Water Heat Pump | HN0913T | LG | 1 | ~9 kW | Cooling Capacity: ~9 kW; Power Supply: 220–240 V ~ 50 Hz
7 | Split-Type Air Conditioner (Indoor Unit) | PC12SK | LG | 21 | 3.5 kW (~12,000 BTU) | Power Supply: 220–240 V ~ 50 Hz; Refrigerant: R410A / R32 compatible
8 | Split-Type Air Conditioner (Indoor Unit) | PC18SK | LG | 8 | Cooling 5 kW / Heating 5.8 kW (~18,000 BTU) | Power Supply: 220–240 V ~ 50 Hz; Refrigerant: R410A / R32 compatible
9 | LG Standard Plus Indoor Multi Unit | PC09SC.NSJT | LG | 19 | Cooling 2.5 kW / Heating 3.2 kW | Indoor unit system; Integrated Wi-Fi; Multi-unit compatibility; CE & UK PSTI certified
10 | LG Standard Plus Split-Type Air Conditioner | PM15SK | LG | 9 | Cooling 4.2 kW (~14,000 BTU) | Power Supply: 220–240 V ~ 50 Hz; Refrigerant: R32
11 | LG Split-Type Air Conditioner (Indoor Unit) | PM07SK | LG | 16 | 2.0 kW (7,000 BTU) | Power Supply: 220-240 V ~ 50 Hz; Refrigerant: R410A / R32 compatible
12 | LG Therma V Air-to-Water Heat Pump | HNI600MC.NK1 | LG | 32 | 16 kW | R32 refrigerant; Sound level: 44 dB(A); Range Cooling: 5°C–27°C; Heating: 15°C–65°C; Power: 220-240V 50Hz
13 | LG Multi Split Air Conditioner Outdoor Unit | MU2R15.U13 | LG | 8 | Cooling 4.1 kW / Heating 4.69 kW | R32; Power: 220-240V 50Hz; 2 Indoor Units; Noise: 56-61 dB(A); 32.5 kg
14 | LG Multi Split Air Conditioner Outdoor Unit | MU4R27 | LG | 7 | Cooling 7.9 kW / Heating 9.1 kW | R32; Power: 230V Single Phase
15 | LG Multi Split Air Conditioner Outdoor Unit | MU5R30 | LG | 7 | Cooling 8.8 kW / Heating 10.1 kW | R32; Power: 220-240V 50Hz; 5 Indoor Units; Noise: 64 dB; 95×83.4×33 cm; 64 kg
16 | De Dietrich Split Air Conditioner Indoor Unit | UMS 25 | De Dietrich | 8 | 2.65 kW | Wall mounted; 10 kg
17 | De Dietrich Split Air Conditioner Indoor Unit | UMS 35 | De Dietrich | 7 | 3.5 kW | Wall mounted; 12 kg
18 | De Dietrich Split Air Conditioner Indoor Unit | UMS 20 | De Dietrich | 22 | 2.7 kW | Wall mounted; 12 kg
19 | LG Multi Split Air Conditioner Outdoor Unit | MU3R21.U23 | LG | 13 | Cooling 6.15 kW / Heating 7.0 kW | R32; 3 indoor units; 49 dB(A); 870×650×330 mm; 15 A
20 | LG Air to Water Heat Pump | HU091MR | LG | 6 | 9 kW | Cooling/Heating ~9 kW; R32; 220-240V 50Hz
21 | LG Air to Water Heat Pump | HN091MR | LG | 6 | Heating 9 kW / Heater 6 kW | R32; 220-240V 50Hz Single Phase
22 | LG Multi Split Air Conditioner Outdoor Unit | MU3R19.U23 | LG | 3 | Cooling 5.3 kW / Heating 6.3 kW | R32; Power 220-240V 50Hz
23 | LG Multi Split Inverter Air Conditioner Outdoor Unit | MU4R25 | LG | 5 | Cooling 7.0 kW / Heating 8.4 kW | R32; 4 indoor units; BLDC inverter; Low noise
24 | Watts Wilden R7 Programmable Room RF Thermostat | Wilden R7 | WATTS | 43 |  | RF Thermostat; LCD; Temp 5–35°C; Range 100m open / 30m closed; 868 MHz; IP30
25 | Atlantic Navilink 128 Radio-Connect Thermostat | Navilink 128 | Atlantic | 3 |  | Wireless programmable thermostat; RF; Battery powered; Color display
26 | Watts Backflow Preventer | CA9C | Watts | 3 | 3/4“ female thread
27 | Watts Balancing Valve | SRV AG WattFlow | Watts | 29 | With built-in Flow Meter. Size DN20. Flow Range 4-36 l/min | Max Operating Temp 100 C at 10 bar
28 | Circulating Pump, Energy Saving A Rated | MP280A | Salus Controls | 48 | 230V. Max Temp 110 C, min Temp 2 C. Max Pressure 10 bar. | For heating systems
29 | Malleable Iron Pipe Fittings | ZRU26 | Afy | 49 |  | 2 pairs union fittings + 2 gaskets. Size 1“ x 1 1/2“
30 | Antifreeze Valve Set | SAG1 | Nonfroz | 82 |  | Automatic opening at 3 C. Automatic closing at 6 C. G1“ thread
31 | Surface Mounting Rotary Isolator Switch | MG 404 | Mega Hertz | 44 |  | 4 Pole, 40 Ampere. IP65 (dust & water jet protected)
32 | Industrial Dehumidifier | SM-480E/ AGP480 | Enerton by Econegoc | 3 | Moisture removal 48 l/day
33 | Industrial Dehumidifier | SM-30KE/ AGP720 | Enerton by Econegoce | 70 | Moisture removal 384 l/day | 3 phase
34 | LG Therma V Air-To-Water Heat Pump (Outdoor Unit) | HU141MRB U30 | LG | 6 | Heating 14 kW. Power Consumption (Heating) 2.86 kW, (Cooling) 3.26 kW | Energy Class A+. Expansion Vessel 8l. Dimensions 950mm x 1380mm x 330mm
35 | LG Therma V Air-To-Water Heat Pump (Outdoor Unit) | HU121MRB | LG | 7 | 220-240V, 50 Hz | Refrigerant R32. 6900 € (incl. indoor unit!)
36 | LG Therma V Air-To-Water Heat Pump (Outdoor Unit) | HU163MRB | LG | 3 | 220-240V. 50 Hz | Refrigerant R32
37 | LG Therma V Air-To-Water Heat Pump (Outdoor Unit) | HU161MRB | LG | 5
38 | LG Therma V Air-To-Water Heat Pump (Outdoor Unit) | HU123MRB.U30 | LG | 3 | Capacity (Heating) 12 kW, (Cooling) 12 kW. Consumption (Heating) 2.38 kW, (Cooling) 2.53 kW | Voltage 3/380-415V/50Hz (3 phase)
39 | LG Multi Split Air Conditioner (Outdoor Unit) | MU5R40 | LG | 3 | Cooling Capacity 11.7 kW | 220-240V, 50Hz. Max Indoor Units Connectable 5
40 | LG Therma V Air-To-Water Heat Pump (Outdoor Unit), Split Type | HM143MRS UK | LG | 1 | Heating Capacity 14 kW | 220-240V
41 | LG Therma V Air-To-Water Heat Pump (Outdoor Unit) | HU051MR | LG | 1 | Capacity (Heating) 5 kW, (Cooling) 5 kW | 220-240V. Water Flow Rate 15.8 l/min
42 | De Dietrich Multi Split (Outdoor Unit) | MUSE 120-5 | De Dietrich | 2 | Capacity (Heating/ Cooling) 12 kW | connects to multiple indoor units
43 | De Dietrich Multi Split (Outdoor Unit) | MUSE 100-4 | De Dietrich | 4 | Capacity (Heating/ Cooilng) 10.5 kW | Connects to multiple indoor units
44 | De Dietrich Heat Pump (Outdoor Unit) | MIT-S 11-16/E | De Dietrich | 2 | Capacity ( Heating) 11-16 kW | Model no. As indoor unit online?! -> price
45 | Proximity Circuit Breaker | MG324 | Mega Hertz | 30 | 4 Poles, 32A | Rotary isolator switch. IP65 (dust & water jet protected)
46 | Air-To-Water Heat Pump (Outdoor Unit) | WOYG140LCTA | Atlantic | 3 | 14 kW | 10000 € (incl. Fujitsu Indoor Unit)
47 | LG Split-Type Air Conditioner (Indoor Unit) | PC12SC | LG | 10 | Cooling Capacity 3.5 kW | 220-240V
48 | LG Split-Type Air Conditioner (Indoor Unit) | PM05SK | LG | 20 | Cooling Capacity 1.5 kW | 220-240V
49 | LG Split-Type Air Conditioner (Indoor Unit) | PC18SC | LG | 1 | Cooling Capacity 5.3 kW | 20-240V
50 | De Dietrich Multi Split Air Conditioner (Outdoor Unit) | MUSE 40-2 | De Dietrich | 1 | Cooling Capacity 3.5 kW | 2 outputs
51 | De Dietrich Mono Split Air Conditioner (Indoor Unit) | UMS 70 | De Deitrich | 1 | Cooling Capacity 6.2 kW
52 | LG Therma V Monobloc Air-To-Water Heat Pump (Outdoor Unit) | HM161MR | LG | 1 | Heating Capacity 6.0 kW
53 | LG Therma V Monobloc Air-To-Water Heat Pump (Outdoor Unit) | HM141MR | LG | 1 | Heating Capacity 5.0 kW
54 | LG Therma V Monobloc Air-To-Water Heat Pump (Outdoor Unit) | HM091MRS | LG | 1 | Heating Capacity 4.0 kW
55 | LG Therma V Monobloc Air-To-Water Heat Pump (Outdoor Unit) | HM123MRS | LG | 1 | Heating Capacity 4.5 kW
56 | LG Therma V Hydrosplit Mural Bibloc Air-To-Water Heat Pump (Outdoor Unit) | HU143MRB | LG | 4 | Heating Capacity 5.5 kW
57 | Airwell Tri-Split Air Conditioner (Outdoor Unit) | ZDAE-3060 | Airwell | 2 | Capacity (Heating) 9.2 kW, (Cooling) 8.5 kW
58 | Airwell Air Conditioner (Indoor Unit) | HDLE-025N | Airwell | 4 | Capacity (Heating) 3.2 kW, (Cooling) 2.5 kW
59 | Airwell Air Conditioner (Indoor Unit) | HDLE-035N | Airwell | 3 | Capacity (Heating) 4.0 kW, (Cooling) 3.5 kW
60 | Airwell Air Conditioner (Indoor Unit) | HDLE-050N | Airwell | 4 | Capacity (Heating) 5.8 kW, (Cooling) 5.0 kW
61 | Airwell Air Conditioner (Outdoor Unit) | ZDAE-4080 | Airwell | 2 | Capacity (Heating) 12.5 kW, (Cooling) 11.2 kW
62 | Airwell Air Conditioner (Outdoor Unit) | ZDAE-3070-09M25 | Airwell | 2 | Capacity (Heating) 12.5 kW, (Cooling) 11.2 kW
63 | Triomph Thermodynamic Water Heater | TRBT200N | Triomph | 1 | Capacity 200 liters | Energy Efficiency A+
64 | Atlantic Thermodynamic/ Hybrid Heat Pump Water Heater | Explorer VS 200 l | Atlantic | 1 | Capacity 200 l. Heating Power 2500 W.
65 | Expansion Tank Connection Group | GAGINIR20-3NF | WATTS | 49 |  | Expansion tank support/ mounting bracket for tanks from 8-50 liters
66 | Split Air Source Heat Pump (Outdoor Unit) | AWHP 16 MR-2 | Remeha/ De Dietrich | 3 | Capacity 16 kW
67 | Atlantic ISILIA S Split Air-To-Water Heat Pump (Outdoor Unit) | ISILIA S | Atlantic | 2 | Capacity 12 kW
68 | Magnetic boiler filter | Vk-12v1-2 | Viking | 42 | 1“. 8.7 kg
69 | Smart Thermosat | NTH-pro | Netatmo | 4
899